## GM CORPORATE Dealership

## Identification

## Program

## GM-DI LEASING CORPORATION

#### GM

INTRODUCTION

Welcome to the premier Dealership Identification program for the General Motors Dealer Network. Our newly developed policies and procedures are the combined effort of our dealers, customer service groups, and business center operations. The redesigned program was developed to provide you with a competitive advantage, improved market share, and enhance customer enthusiasm.

Our product portfolio offers GM dealers a retail identity package that reflects quality, value, and leadership. The GM retail identity radiates a lasting visual impression of the immensity of the GM dealer network, the vast resources that stand behind each dealer, and the quality of GM products.

GM-DI Leasing Corporation, a wholly owned subsidiary of General Motors Corporation, administers the General Motors Dealership Identification Program. Questions regarding the program should be addressed to your Zone Manager or the program sign supplier, ImagePoint Inc.

TABLE OF CONTENTS

Overview

- Program History								 5

- GM-DI Mission Statement							 6

- GM-DI Vision Statement							 7

Program Guidelines

- Services Offered								 8

- Initiating Work Requests							 9

- Job Status									 9

- Sign Ordinance changes							11

- Highway Right-of-way							12

- Recommended Sign Packages						33

- Dealership / Franchise Termination					13

- Repair & Maintenance							14

Program Funding

- Monthly Lease Payments					     	      15

- Lease Rates						        	    	       15

- Dealership Size							       16

- Sign Modifications (Cost Allocation)			        16 – 17

Program Contacts

- GM Central Office								18

- Sylvania Lighting Services / Amtech Lightning Services 	19

- ImagePoint Inc.								20

How To Obtain Signs & Services

- Sign Modifications								22

- Request For Survey								24

( Blank Request Form )							25

- Request For Signage Change				            26 - 27

( Blank Request Form )							28

- Lease Assignment								29

( Blank Assignment Form )						30

- Sign Modification Vs. Repair & Maintenance			31

Electrical Requirements

- Dealer Electrical Responsibilities

Inside the Dealership						35

Main Switch								36

Amperage & Circuits						37

Panel Board								38

Wiring									39

Wire Sizes & Lengths						40

Timers & Photocells							41

- GM-DI Responsibilities - Outside The Dealership

Circuit Requirements						43

Conduit									44

Other Policies

- Sign Installation / Relocation						45

Survey									45

Relocation Same Site						45

Lead Time								46

Electrical								46

- Sign Removal									47

Notification								47

Lease Termination							48

Foundation Removal						48

- Non Program Signage							49

- Divisional Colors   ( PMS Codes )					50

- Used Car Signs								51

- Frequently Asked Questions						52

#### GENERAL MOTORS DEALER IDENTIFICATION

- OVERVIEW

HISTORY

- GM-DI Leasing Corporation  (GM-DI) has been the industry leader in automotive retail identity for more than 30 years.

- GM-DI was organized in August 1968 to eliminate the existing clutter and inconsistency in retail signage and to provide uniform, simple, high quality identification for GM dealerships across the United States. The goal of the GM retail identity is to emphasize the relationship between GM, it’s brands, and it’s retailers.

- In October 1996, The Board of Directors of GM-DI Leasing Corporation restructured the Dealership Identification Program. The goal was to maximize the operational efficiency and cost effectiveness of the program. An important step toward achieving that goal was to transfer day-to-day tactical responsibilities to the program sign supplier.

- This strategic move eliminated a layer of administration and resulted in the most efficient project management activity in the industry.

#### Mission Statement

- To ensure the integrity of General Motor’s retail identity through the consistent implementation of corporate and brand identities, at the retail point of sale.

- GM-DI will provide the premier retail identity program within the automotive industry, emphasizing excellence, value and total fulfillment for all GM retailers throughout the United States.

GM-DI  Vision Statement

- We will strive to become the recognized leader among corporate identity programs.  Our business practices and procedures will be standardized at the highest levels of quality, while recognizing the diverse needs of our customers.

- We will listen to our business partners, both customers and suppliers, and acknowledge that they provide the best perspective for evolving our program, to ensure the highest levels of customer enthusiasm.

- Above all, we value our customers and support teams.  We are dedicated to continuous improvement and committed to identifying and utilizing best practices to ensure continued excellence in product quality and customer service.

- GM-DI  PROGRAM  GUIDELINES

SERVICES OFFERED

- GM-DI leases ground and wall mounted dealership signage to GM dealers in the United States, Puerto Rico, and the U.S. Virgin Islands.  Signage is offered to dealers under a 10-year (120-month) lease agreement that converts to a perpetual month-to-month lease after the initial 10 years. The 120-monthly payments begin upon installation and acceptance of the sign package by the dealer.  In the event payments are suspended during the 120-month term, the lease is automatically extended until 120 payments have been made.

- GM-DI also leases Goodwrench Service Center identification on a 60-month lease agreement.

- GM-DI Leasing, through a contract with ImagePoint Inc. of Knoxville, Tennessee, provides the following services under the GM dealership Identification Program.

- Dealership Surveys

- Preparation of Lease Agreements

- Installation of new Signs

- Relocation of existing signs

- Face panel replacements

- Preventive & Corrective maintenance

- Sign removals

- Requests for sign modifications must be coordinated through your Zone Office.

- Your Zone Office will initiate a work request by submitting “Request for Survey” or a “Request for Signage Change” form. The completed form should be faxed to ImagePoint at (865) 342-9829. ImagePoint will process the request and issue the appropriate work order for your dealership.  When the work order is issued you will receive a sales order number via e-mail.  You may check the status of your job by contacting your Customer Account Manager below.

- For Job Status Requests	Dial 1-800-444-7446 plus							the extension

- For States   		                               Telephone Contact

- AK, AZ, CA, CO, HI, ID, IA, KS, MN,

- MO, MT, ND, NE, NM, NV, PR, OR,			ext. 568

- SD, UT, VI, WA, WY, OK

- AL, AR, FL, GA, LA, MS, TN, TX  			ext. 675

- CT, DE, MA, ME, MD, NH, NJ, NY,		 	 ext. 275

- PA, RI, WV, VA, VT, NC, SC

- IL, IN, KY, MI, OH, WI						 ext. 288

- The GM-DI Lease Agreement requires that all GM-DI installed signage remain on the dealership facilities as installed. Sign alterations are not permitted (reference paragraph 15 Lease Agreement). Attachments or alterations to GM-DI signage, their supporting columns or the electrical circuitry, which energizes them are a violation of your lease agreement and will void your product warranty.

SIGN ORDINANCE CHANGES

- You must notify our administrative service provider ImagePoint, at 800-444-7446 ext. 821 when local communities adopt ordinances or regulations that:

- Affect previously installed GM-DI signs

- Afford greater latitude in number and size of signs

HIGHWAY RIGHT-OF-WAY ACQUISITION

- You must notify ImagePoint, at 800 444-7446 ext. 821 when GM-DI signs must be relocated due to highway right-of-way projects initiated by a State or local government.

- Forward a copy of the official sign removal notice to ImagePoint (fax: 865-342-9829). Prompt notification will allow GM-DI time to minimize relocation expense or apply for expense reimbursement from the local authority.

- Reimbursement received by the dealership for the relocation of GM-DI signs must be reported to GM-DI.  Such reimbursement will be used to offset the cost of the sign relocation.

DEALERSHIP OR FRANCHISE TERMINATION

- Dealership or franchise terminations must be reported to ImagePoint by the dealership as soon as they are approved by GM.   Notification should be sent to ImagePoint, Inc. via fax: 865-342-9829 or by calling 800 444-7446 ext. 821.

- Your Zone Manager must initiate a “Request For Survey” or  “Request For Signage Change” form to initiate an order to change the signs at your dealership.  Request forms should be faxed to ImagePoint at the above number.

- REPAIR & MAINTENANCE

- All lamp outages, sign damage, and emergencies should be reported directly to Sylvania Lighting Services (SLS) at 800-323-0572, or Amtech Lighting Services (ALS) 800-800-2668 as listed below for your state.  A sign mechanic will be dispatched to your dealership within 72 hours of your telephone call.  On-call repair service is provided at no cost to the dealership.

- If a sign mechanic does not respond to your service call within 72 hours, notify the GM-DI program office         (313) 667-6136.

- ELECTRICAL MAINTENANCE SERVICE TEAMS at

- 1) Sylvania lighting Service for

- EASTERN REGION STATES 			 Telephone #

- AL, AR, CT, DE, FL, GA, IA, ID, IL,

- IN, KY, LA, MA, MD, ME, MI, MN,		1 -800-323-0572

- MO, MS, MT, NC, ND, NE, NH, NJ,	 (in MA: 1-800-654-2830)

- NY, OH, PA, RI, SC, SD, TN, VA, VT,

- WI, WV, WY; Plus AK, HI, DC, PR, VI

- 2) Amtech Lighting Service for

- WESTERN REGION STATES

- AZ, CA, CO, KS, NM, NV, OK, OR,		1-800-800-2668

- TX, UT, WA,

PROGRAM FUNDING

- Monthly Lease Payments

- GM-DI signs are leased to GM dealers on a 120-month payment plan.  The monthly lease payment covers all costs of signage to the dealership.  GM-DI generally bares the cost of all sign repairs, maintenance, and modification.  The current lease rates for GM-DI signs appear below.

- Monthly

- Sign			   Lease Amount

- 245				$269.00

- 137		 		$151.00

- P92		 		$101.00

- P64				$  70.00

- P38				$  42.00

- S36				$  40.00

- S16				$  18.00

- R36				$  40.00

- R16				$  18.00

- R13  			$  14.00

- R9				$  10.00

- R8  	    		        $    9.00

- R4				$    4.00

- Dealership Size

- Dealership size is determined by sales planning potential for each GM dealership.

- SMALL	 MEDIUM	LARGE

- DIVISION   DEALER    DEALER	DEALER

- Chevrolet		0-199	   200-749	750 & beyond

- Pontiac		0-149	   150-499	500 & beyond

- Buick		0-149	   150-499	500 & beyond

- Cadillac		0 - 99 	   100-249	250 & beyond

- GMC		0 - 49	     50 - 99	100 & beyond

- A multiple franchise store will total planning potential for all franchises to determine its dealership size (i.e. Chevrolet/Cadillac dealership can total all Chevrolets and Cadillac sold to calculate its dealership size).  The divisional charge will be allocated to marketing divisions based upon their proportionate share of total planning potential.

- Sign Modifications (Cost Allocation)

- In general, GM-DI Leasing will bear the cost of repairs, maintenance, and modifications of signs at GM dealerships.

- Sign changes & repairs: GM-DI will bear the cost of dealership face panel changes due to franchise realignment and name panel changes due to changes in ownership.  GM-DI will also bear the cost to repair damage that results from vandalism or acts of God.  GM-DI will not bear the cost of damage caused by the lessee; it’s agents, invitees, employees, or guests.

- Relocations:  GM-DI will bare the cost of onsite sign relocations due to site renovations as well as the cost to relocate signs to a new property.  GM-DI will not bare the cost of same site relocations when the facility has not undergone major renovation.

- Removals:  GM-DI will bear the cost to remove any sign that is beyond the initial 120-month lease term.  The cost to remove a sign that is within the initial 120-month lease term will be charged to the dealership.

- GM-DI will not bear costs that result from any of the following:

- Deviations from the standard GM-DI program.

- Work done for no reason other than dealer’s perceived improved marketing impact.

- Dealer’s disruption / interference during installation & maintenance or correction of dealer initiated code violations.

- Work that the dealer or Division originally opted to forgo.

- Variances that have a low probability of approval.

- PROGRAM CONTACTS

- GM Central Office Staff - Policies & Procedures

- - Program Manager	    (313) 667-6136

- Policy & Procedure Issues, Problem Resolution,

- and Legal Issues. Customer Satisfaction Issues, Non- Standard Pricing, Vendor Performance, and Program Manuals

- - Program Coordinator	   (313) 667-6129

- Vendor Invoices, Data Base Integrity, Lease

- Administration, and Sign Portfolio Management

- Central Office Fax # (313) 667-6315

- Mailing Address:

- GM-DI Leasing, P.O. Box 100, 100 Renaissance Center, Mail Code 482-A06-A96, Detroit, Michigan 48265-1000

- Sign Maintenance (Two Suppliers)

- 1) Sylvania Lighting Services-Tactical aspects of preventive					              & corrective maintenance.

- EASTERN REGION------------------------- 800-323-0572

- (ID,WY,NE,IO,MO,AR,LA and all states eastward

- plus AK & HI )

- Mailing Address:

- Sylvania Lighting Service, National Sign Program

- 13432 Stark Rd., Livonia, MI  48150

- 2) Amtech Lighting Services-Tactical aspects of preventive					              & corrective maintenance.

- WESTERN REGION------------------------ 800-800-2668

- (AZ,CA,CO,KS,NM,NV,OK,OR,TX,UT,WA)

- Mailing Address:

- Amtech Lighting Service, Sign Program

- 2390East Orangewood Ave.Suite100, Anaheim, CA. 92806

Sign Installation & Modification

- ImagePoint Inc. – Tactical aspects of program administration

- and sign installation/modification.

- TELEPHONE NUMBER			 FAX NUMBER

- 1-800-444-7446		                 1-865-342-9829

- - TEAM LEADER ---------------------------------EXT 821

- - CUST. ACCT. MGR -----------------------------EXT 288

- NORTH CENTRAL STATES

- - CUST. ACCT. MGR -----------------------------EXT 675

- SOUTH EASTERN & SOUTH CENTRAL STATES

- CUST. ACCT. MGR ----------------------------EXT 568

- WESTERN STATES AND PUERTO RICO

- & VIRGIN ISLANDS

- - CUST. ACCT. MGR ----------------------------EXT 275

- NORTHEASTERN STATES

- Mailing Address:

##### ImagePoint, PO Box 59043, Knoxville, Tn. 37950-9043

How to Obtain Services

Your Zone Manager will assist you with any signs and services that you may require. Your Area Parts Manager will arrange GM Goodwrench signage for your dealership. Program policy requires that the GM Contact, using one of the prescribed request forms, must initiate the modification of an existing signage package at a dealership.

Contact your Zone Manager when you would like to add a new sign, when you need a sign relocated or removed, and when you add or drop a GM franchise.

If you are building a new dealership facility or a Goodwrench Service Center you should contact ImagePoint during the design phase of the project to discuss your signage needs.

Sign Modifications

A sign modification is any activity that changes the usage of dealership signage such as installing a new sign or changing face panels in an existing sign. Modification includes sign additions, removals, or relocations and face panel changes.

When a GM dealer requires a new sign or wants an existing sign moved, a Request for Survey form should be prepared by the GM Contact and signed by the dealer.  The GM Contact should then sign the form indicating approval, and forward the form to ImagePoint Inc. for processing.

When a dealership adds or drops a franchise, has a change in ownership that requires a new name on the signs, or wants a sign removed, a Request for Signage Change form should be prepared by the GM Contact.   The Request for Signage Change form must be signed by the dealer, approved by the GM Contact, and forwarded to ImagePoint Inc. for processing.

If the change in ownership involves a change in owner operator and the new owner wishes to keep the existing signage at the dealership, a Lease Assignment form should be sent to the dealership along with the Request for Signage Change.  The Assignment form should be signed by both the new owner and outgoing owner and returned to the GM Contact for forwarding to ImagePoint Inc.

The request forms and forwarding addresses appear on pages 24 through 30.  Any questions regarding the use of forms or the procedure for processing forms should be directed to Team Leader at ImagePoint Inc., 800-444-7446 Ext. 821.

REQUEST FOR SURVEY

( To Be Completed By The GM Contact )

A Request For Survey must be completed to initiate a survey of the dealership property.  The dealership property must be surveyed when a new sign will be required or when an existing sign must be moved.

The Request For Survey must be approved by the GM Contact and forwarded to ImagePoint Inc. to initiate the survey process.

Approved survey request forms will be received by ImagePoint Inc. at:

Fax Number	(865) 342-9829

U.S. Mail	:

ImagePoint Inc.

General Motors Team

P.O. Box 59043

Knoxville, TN  37950-9043

| # GM-DI Leasing Corporation ### Request for Survey Form |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ## New to GM-DI Program | ##### Check which applies |  |  | ## Relocation of Dealership |  |
|  | Acquire Additional Sign(s) |  |  |  | Relocation of Current Sign(s) |  |
|  | Buy-Sell Agreement / Business Entity Change |  |  |  |  |  |
| The undersigned hereby requests GM-DI Leasing Corporation to arrange for a survey of the dealership property to determine the most advantageous location for the Dealership Identification signs. I hereby grant to GM-DI Leasing Corporation, its agents, employees, contractors, and subcontractors the right to enter upon the property designated below: #### Reason for Survey (Provide specific information concerning purpose of survey request) ____________________________________________________________________________________________________________________________________________________________________________________. #### Current Address of Dealership / Location of Sign(s) ## Dealership ## Name ________________________________________________________________________ Address ________________________________________________________________________ City _____________________________________ State _______Zip____________________. #### Property to Be Surveyed ## Dealership ## Name ________________________________________________________________________ Address ________________________________________________________________________ City _____________________________________ State _______Zip____________________. #### Dealership Contact: Name ___________________________ Phone # ___________________________ Fax # ___________________________ Email Address ________________________________ ###### Signature; #### General Motors Zone Team Member Contact: Name ___________________________ Phone # ___________________________ Fax # ___________________________ Email Address ________________________________ Signature. Fax Completed Form to: (865) 342-9829. ImagePoint Inc. P.O. Box 59043, Knoxville, TN 37950-9043 Toll Free (800) 444-7446 Revised 1/2003 |

REQUEST FOR SIGNAGE CHANGE

( To Be Completed By The GM Contact )

A Request For Signage Change must be completed whenever a sign must be removed or when face panels must be changed.  Face panels are normally changed when a franchise is added or dropped or when there is an ownership change at the dealership that requires a change in the dealer name panel.

The completed form must contain all information requested.  The “Reason for this change” will be used to determine financial responsibility.  If no reason is shown, the cost of the signage change will be charged to the business management division.

In the event a dealership termination, when the “Remove and hold” or “Do not remove” options on the request form are selected, the monthly rental fee will continue and will be charged to the business management division.  If the sign is removed prior to the expiration of the initial 10 year life, a termination penalty equal to one half the remaining rent, will be charged to the dealer along with the cost to remove the sign.  The net book value, less the amount of the dealer penalty, is charged to the business management division.  In a case of early lease termination, GM-DI will recover only the remaining net investment in the sign.

In the event of a change in ownership, where the new owner wishes to continue leasing the GM-DI signs, the completed request form must be accompanied by a Lease Assignment form.  This form is the legal document which transfers the lease agreement to the new owner.  If the new owner does not wish to continue leasing the signs, the signs must be removed.

The Request For Signage Change must be approved by the GM Contact and forwarded to ImagePoint Inc. to initiate a change in signage.

Approved Request For Signage Change forms will be received by ImagePoint Inc. at:

Fax Number	(865) 342-9829

U.S. Mail	:

ImagePoint Inc.

General Motors Team

P.O. Box 59043

Knoxville, TN  37950-9043

| # GM-DI Leasing Corporation ### Request for Signage Change Form |  |  |
| --- | --- | --- |
| #### Reason for Requested Change (Provide Specific information concerning purpose of this request) |  |  |
| #### Current Location of Sign(s) Dealership Name_____________________________________________________________________________________ Address____________________________________________________________________________________________ City_______________________________________ State ________________ Zip ______________________________ |  |  |
|  | ## Sign Removal Remove the Following Sign(s): _____________________________________________ Other: _________________________________________________________________ |  |
|  | ## Dealer Termination ## Remove All Current Signs Dealer Terminated, Do not Remove – Buy-Sell Pending – Assignment Form Attached Other: _________________________________________________________________ |  |
|  | #### Name Change ## New Dealership Name ________________________________________________________ Dealer Name Panels to Read: _________________________________________________________ (Show Exact Lettering, Characters, and Hyphenation) |  |
|  | #### Franchise Change ## Add: Chevrolet Oldsmobile Cadillac Buick Pontiac GMC ## Delete: Chevrolet Oldsmobile Cadillac Buick Pontiac GMC |  |
|  | #### Face Change ## Existing Sign_____________________________ Change To: ______________________________ Existing Sign_____________________________ Change To: ______________________________ |  |
| Dealership Contact: Print Name Print Name Name _____________________________ Phone # _____________________________ Fax # _____________________________ Email Address ________________________________ ###### Signature |  | #### General Motors Zone Team Member Contact: Name _____________________________ Phone # _____________________________ Fax # _____________________________ Email Address ________________________________ ###### Signature |
| Fax Completed Form to: (342) 947-9829 |  |  |

ImagePoint Inc.  P.O. Box 59043, Knoxville, TN  37950-9043                                         Toll Free  (800) 444-7446

Revised 1/2003

LEASE ASSIGNMENT

( To Be Completed By The GM Contact )

An assignment form is required when there is a change of ownership at a dealership and the new owner chooses to keep the existing dealership signage.  A complete set of signatures is required for an enforceable assignment.  The Assignment form must be signed by an officer of the dealership who is authorized to execute legal documents.  The attestation must be signed by a second officer attesting that the person executing the assignment is authorized to do so.  Witnesses to all signatures are required.  The signature requirements apply to both the Assignor and the Assignee.

Under certain circumstances the sign lease rates may increase. Prior to assigning the lease agreement GM-DI will review the sign lease rates to determine whether a rate adjustment is necessary.  Contact GM-DI for more information on the actual monthly rate for your signs.

Completed Lease Assignment forms will be received by ImagePoint Inc. at:

Fax Number	(865) 342-9829

U.S. Mail:

ImagePoint Inc.

General Motors Team

P.O. Box 59043

Knoxville, TN  37950-9043

Lease No:

Dlr Id:

Div/Dlr No:

ASSIGNMENT

In consideration of TEN AND 00/100 DOLLARS ($10.00) and other valuable consideration, the receipt of which is hereby acknowledged, the undersigned as Assignor and as Lessee in a certain dealership Identification Lease Agreement entered into on _______________________, with GM-DI LEASING CORPORATION, as Lessor, hereby assigns all of its right, title and interest in the aforesaid Lease to _____________________________, a ______________________ corporation, with its principal address at ______________________________, as Assignee, who by acceptance of this Assignment agrees to assume all of the rights and obligations of the Lessee in the aforesaid Lease.

IN WITNESS WHEREOF, Assignor has signed and sealed this instrument this _____ day of __________, 19____, and Assignee has signed and sealed this instrument this ____ day of _______, 19___.

In the presence of:                                      ASSIGNOR: __________________________________

________________________                                         BY  _______________________________

President

________________________                                         ATTEST ___________________________

Secretary

In the presence of:                                      ASSIGNEE: ___________________________________

________________________                                         BY  _______________________________

President

________________________                                         ATTEST ___________________________

Secretary

CONSENT OF LESSOR

GM-DI LEASING CORPORATION, the Lessor in the Dealership Identification Lease Agreement dated ____________________________ hereby consents to the within assignment.

Dated this ______ day of ____________,  19___.

GM-DI LEASING CORPORATION

BY______________________________

SIGN MODIFICATION vs. REPAIR & MAINTENANCE

Under program policy, any modification of the existing signage package at a dealership must be initiated by a GM representative using one of the prescribed request forms.  Modification includes sign additions, removals, or relocations and face panel changes.  Electrical problems are normally considered repair or maintenance unless the electrical is working but requires rerouting.

A sign modification may be initiated by submitting a request form to ImagePoint Inc.  Sign maintenance or repair is initiated by the dealer by phoning Sylvania Lighting Services or Amtech Lighting Services.

Damaged Face Panels

When a GM-DI sign sustains minor damage to face panels such as cracks or bullet holes, the dealer must take photographs that clearly show the extent of damage. After photographs are taken, the damage should be reported to ImagePoint Inc.

Extensive damage that causes face panels to blow out of the sign, or damage that places face panels in danger of blowing out, should be reported by the dealer to Sylvania Lighting Services or Amtech Lighting Services.

Other Repair Requests -- ImagePoint

A request for repair should be initiated in the event of damaged base covers, and stainless steel, or when there is an electrical problem of known origin.

Maintenance Requests -- Sylvania Lighting Services or Amtech Lighting Services

A maintenance request should be initiated when face panels require cleaning, lamps will not illuminate, the entire sign is inoperative, or when there is an electrical problem of unknown origin.

#### Recommended Sign Packages

Dealerships are classified by size – large, medium and small. The size of a dealership is determined by sales planning potential. GM recommends minimum sign packages for each dealership size.

- Dealership Size			Recommended Sign Package

- Large				P245 Product Sign

- P137 Used Car Sign

- S36 - 6 x 6 Service Sign

- S16 - 4 x 4 Parts Sign

- Medium			P137 Product Sign

- P92 Used Car Sign

- S36 - 6 x 6 Service Sign

- S16 - 4 x 4 Parts Sign

- Small				P92 Product Sign

- S36 - 6 x 6 Used Car Sign

- S16 - 4 x 4 Parts - Service Sign

Electrical

Requirements

Underground electrical circuitry must be installed by GM-DI.  The electrical run will be installed in a direct line from the outermost wall of the dealership to the location of the sign.  If for any reason a route other than a straight line from the dealership is used, the added cost of the indirect route must be paid by the dealership.

- INSIDE THE DEALERSHIP (Dealer Responsibility)

- The dealer is responsible for electrical inside the dealership. Adequate power to this facility and all related properties including all materials and any labor required are at the dealer’s expense.

- The dealer must obtain any necessary electrical permits, inspections and approvals required for wiring inside the dealership. The local utility must be contacted by the dealer to insure utility service is adequate to support exterior signage load requirements.

- All electrical connections and installations obtained must conform to the specification of NEMA, National Electrical Code, Underwriters Laboratories and all federal, state and local codes, ordinances and regulations.

- The dealer must provide an adequate power source on the exterior of the dealership with required wiring and conduit from the main panelboard distribution center to accommodate exterior roof and/or other ground-mounted signage as agreed upon in the property survey.

- MAIN SWITCH

- The dealer main signage switch must be a fusible, normal duty quick-make, quick-break safety switch with interlocking doors. This switch must have provisions for locking in the “off ” position; be fixtured for 120/208 voltage and have four wire connection appropriate for signage phase lighting service as shown in Table A.

- If separately mounted, dealer switch must have a NEMA -one enclosure and be connected on the load side of the dealer’s main switch. If adequate for the additional load, switch may be a branch circuit switch or a branch circuit breaker in the dealer’s switchboard or main distribution panelboard. The fuse switch must have dual-element fuses. Circuit breaker must have sufficient interrupting capacity to meet available fault levels.

- DEALER ELECTRICAL

- TABLE A

- BASIC SIGNAGE PACKAGE REQUIREMENT ONLY

- For Main Switch, Panelboard and Timer contactor

- Dealer Size		    Amperage	                Panelboard

- Type of Electrical Service         Single Pole Breaker

- 120/240 volt      120/208 volt

- Single-phase	 Three-phase

| - Large | - 60 Amps | - 30 Amps | - 8 |
| --- | --- | --- | --- |
| - Medium | - 30 Amps | - 30 Amps | - 5 |
| - Small | - 30 Amps | - 30 Amps | - 3 |

- Rotator signage/not available

- ELECTRICAL CIRCUIT SUMMARY

| - SIGN MODEL | - 245 | - 137 | - 92 | - 38 | - 64 | - S36 | - R36 | - S16 | - R16 | - R9 | - R4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - NO. OF - CIRCUITS | - 4 | - 2 | - 1 | - 1 | - 1 | - 1 | - 1 | - 1 | - 1 | - 1 | - 1 |
| - TOTAL - AMPS | - 38.25 | - 21.55 | - 13.80 | - 7.30 | - 11.55 | - 7.70 | - 7.70 | - 3.60 | - 2.05 | - 1.80 | - 1.58 |

PANELBOARD

- One dealer panelboard must be assigned for the exclusive operation of General Motor Dealer Identification signage. This panelboard must be center-load type, with plug in branch circuit breakers that rate as specified in Table A.

- Circuit breakers must be U.L. listed and meet Federal Specifications WC-375-A, Class 1. Twin or tandem breakers less than 3/4” in width will not be acceptable. Circuit breakers must have sufficient interrupting capacity to meet available fault levels. Dealer must provide two breaker padlock devices when requested.

- Panelboard inside front door must include directory for circuit identification. Load center must be U.L. listed and meet Federal Specification WP-115-A as Type 1, Class 2.

- WIRING

- All wires used in the General Motors Dealership Identification Signage installation must be clearly marked at the point of termination.  Wire identification must reflect their relationship with the breakers in the panelboard and must be employed in exclusive operation of GM-DI signage.

- The dealer exterior power source must be such that 120-volt equipment can be directly connected to it. All step down transformers, etc. required to provide a 120-volt hookup will be furnished by and expensed to the dealer.

- Wire sizes are to be calculated by the length of run from the panelboard to the sign splice box located on the signage base. Table B must be referenced when installing exterior wiring signage runs.

- DEALER ELECTRICAL

- TABLE B

- WIRE SIZES / LENGTHS OF RUN

- Amp

- Load				LENGTH OF RUN IN FEET

- 30 40 50 60 70 80 90 100 120 140 160 180 200 240 280 320 360 400 500 600

- 5 12 12 12 12 12 12 12 12 12 12 12 12 12 10 10 10 8 8 8 6

- 6 12 12 12 12 12 12 12 12 12 12 12 12 10 10 10 8 8 8 6 6

- 7 12 12 12 12 12 12 12 12 12 12 10 10 10 10 8 8 8 6 6 4

- 8 12 12 12 12 12 12 12 12 12 10 10 10 10 8 8 8 6 6 6 4

- 9 12 12 12 12 12 12 12 12 12 10 10 10 8 8 8 6 6 6 4 4

- 10 12 12 12 12 12 12 12 12 10 10 10 8 8 8 6 6 6 6 4 4

- 12 12 12 12 12 12 12 12 10 10 10 8 8 8 6 6 6 4 4 4 3

- 14 12 12 12 12 12 10 10 10 10 8 8 6 6 6 6 4 4 4 2 2

- 16 12 12 12 10 10 10 10 10 8 8 8 6 6 6 4 4 4 2 2 1

- 18 12 12 12 12 10 10 10 8 8 8 8 6 6 4 4 4 2 2 2 1

- 20 12 12 12 10 10 10 10 8 8 6 6 6 6 4 4 2 2 2 1 0

- 25 12 12 10 10 8 8 8 8 6 6 6 4 4 4 2 2 2 1 0 2/0

- 30 12 10 10 8 8 8 8 6 6 4 4 4 4 2 2 1 1 0 2/0 3/0

- 35 12 10 10 8 8 8 6 6 4 4 4 2 2 2 1 0 0 2/0 3/0 4/0

- 40 10 10 8 8 8 6 6 6 4 4 2 2 2 1 0 0 2/0 2/0 4/0 ---

- 45 8 8 8 6 6 6 4 4 2 2 2 2 1 0 2/0 3/0 3/0 4/0 ---

- 50 10 8 8 6 6 6 4 4 4 2 2 2 1 0 2/0 2/0 4/0 --- --- ---

- 60 8 8 6 6 4 4 4 4 2 2 1 1 0 2/0 3/0 4/0 4/0 --- --- ---

- 70 8 8 6 4 4 4 2 2 2 1 0 0 2/0 3/0 4/0 4/0 --- --- --- ---

- 80 8 6 6 4 4 3 2 2 1 1 0 2/0 2/0 4/0 4/0 --- --- --- --- ---

- 90 6 6 4 4 2 3 2 2 1 0 2/0 2/0 3/0 4/0 --- --- --- --- --- ---

- 100 6 6 4 4 2 2 2 1 0 2/0 2/0 3/0 4/0 --- --- --- --- --- --- ---

- 120 6 4 4 3 2 1 1 0 2/0 3/0 4/0 4/0 --- --- --- --- --- --- --- ---

- Note: The effectiveness of the time delay and special ballast system will be nullified if the size wire specified in the above chart is not followed explicitly. Wire sizes to be employed should be determined

- by computing the total length of the circuits from the panelboard to the sign. Accordingly, General

- Motors intends to inspect installation to make certain of adherence to the above wire sizes. Any electrical installation not in accordance with these specifications must be corrected to match these specifications.

- OPTIONAL DEALER ELECTRICAL

- TIMER / PHOTOCELLS

- A clock timer unit to preset time and automatically energize and de-energize illuminated signs can be dealer installed for the exclusive operation of GM-DI signage. When a light sensing timer device is desired GM-DI suggests a timer-photocontroller-contactor package furnished by a number of electrical component manufacturers.

- The timer and photcontroller should govern a two or three-pole contactor, which regulates the load center panelboard feeder. Reference Table A for amperage requirements.

- Dealers can add a bypass switch to provided sign illumination during the day. This switch will direct the photocontroller to automatically turn on sign lights. The photocontroller should have an adjustable point of turn-on and be mounted externally on the north, east or south side of the building 18 inches above the roof and positioned to face north.

Outside the dealership

(GM-DI Responsibility)

- Signage electrical runs outside the dealership are GM-DI responsibility. The GM-DI contractor will install all necessary steel conduits and wiring underground from the dealer supplied exterior panelboard to all GM-DI illuminated signs. GM-DI wiring is warranted for 10 years.

- All electrical will be installed as per surveyed drawings and specifications furnished by GM-DI. Reference Tables C and D for installation.

GENERAL MOTORS SIGN PROGRAM ELECTRICAL

CIRCUIT REQUIREMENTS

- (BASED ON USE OF P.V.C. CONDUIT)

- ** GENERAL MOTORS DEALERS ARE NOT PERMITTED TO INSTALL ELECTRICAL WIRING AND CONDUIT TO SIGNS.

- TABLE C

- NUMBER.                NO.                                                *LENGTH IN FEET - WIRE SIZE REQUIRED

- SIGN          OF                         OF        1’ to    75’ to    95 to    130’ to    150’ to    170’ to    190’ to    220’ to    300’ to   340’ to   450’ to  550’to

- MODEL  CIRCUITS   AMPS  WIRES    74’        94’      129’      149’        169’         189’        219’       299’         339’        449’      549’       600’

- P245                4             38.9       7          #12       #12       #10        #10           #8            #8            #8          #6            #6           #4          #4         #4

- P137                2             21.4       4          #12       #12       #10        #10           #8            #8            #8          #6            #6           #4          #4         #2

- P92                  1             13.6       3          #12       #10       #10          #8           #8            #6            #6          #6            #4           #4          #2         #2

- P38                  1              8.8        3          #12       #12       #12        #10         #10          #10            #8          #8            #6           #6          #4         #4

- P64                  1            11.7        3          #12       #12       #10        #10           #8            #8            #8          #6            #6           #4          #4         #2

- P36                  1              7.8        3          #12       #12       #12        #10         #10          #10          #10          #8            #8           #6          #6         #4

- S16                  1              3.8        3          #12       #12       #12        #12         #12          #12          #12        #10          #10           #8          #8         #6

- R16                  1             3.3         3         #12        #12       #12        #12         #12          #12          #12        #10          #10           #8         #8          #6

- R9                    1             1.9         3         #12        #12       #12        #12         #12          #12          #12        #10          #10           #8         #8          #6

- R4                    1              .75        3         #12        #12       #12        #12         #12          #12          #12        #10          #10           #8         #8          #6

- *Length of run measured from sign to dealer power source (GM is responsible for electrical

- only - the shortest most direct route from the sign to nearest dealer exterior building wall).

- -Use one less ground wire when rigid conduit is used. USE COPPER WIRE ONLY. GM

- does not supply electrical to any building mounted signs. This is dealer responsibility.

- ELECTRICAL RUNS MAY NOT EXCEED 450’ WITHOUT WRITTEN APPROVAL OF PROGRAM MANAGER. ATTEMPTED METER BASE USE MUST ACCOMPANY ELCTRICAL RUNS IN EXCESS OF 450’

- TABLE D

- Maximum Number of Conductors in trade Sizes for Conduit or Tubing

- ALL CONDUITS INSTALLED FOR GENERAL MOTORS SIGNS MUST BE INSTALLED IN DEDICATED CONDUIT ONLY. ANY OTHER ELECTRICAL RUNS INSIDE THIS CONDUIT IS FORBIDDEN. ALL TRENCHING AND DIRECT BORING MUST BE DONE AT LEAST 18’ BELOW GRADE

CONDUIT TRADE SIZES (INCHES)         1/2        1/3        1         1-1/4         1-1/2        2        2-1/2        3         3-1/2        4        4-1/2          5            6

- Type Letters    		Conductor Size

- AWG, MCM

- 14             13          24        39          69             94        154

- THWN		         12	         10         18        29          51             70        114        164

- 10	           6          11       18          32             44          73        104       160

- 8 	           3           5          9          16             22          36          51         79        106       136

- 6               1            4          6          11             15          26           7          57          76         98      125         154

- THHN                                             4	           1            2         4            7               9         16          22          35          47         60        75           94         137

- FEP (14 thru 2),	                            3	           1            1         3            6               8         13          19          29          39         51        64           80         116

- FEPB (14 thru 8)	                            2	           1            1         3            5               7         11          16          25          33         43        54           67           97

- PFA (14 thru 4/0)	                             1                             1         1            3               5           8          12          18          25         32        40           50           72

- PFAH (14 thru 4/0) 	           0                              1         1            3               4          7           10           5           21         27       33           42            61

- Z (14 thru 4/0)		         00	                         1         1            2               3           6            8         13           17         22        28           35           51

- SHHW (4 thru		       000		       1         1             1              2           4            6            9           12         15       19           24           35

- 500MCM)	                       0000		       1         1             1              2           4            6            9           12         15       19           24           35

- 250	                                   1             1                1          3            4            7           10         12       16          20            28

- 300		                 1             1                1          3            4            6             8         11       13           17           24

- 350		                 1             1                1          2            3            5             7           9       12           15           21

- 400                                                      1                1          1            3            5             6           8       10           13           19

- 500			              1                 1         1            2            4             5           7         9            11           16

- 600			              1                 1         1            1            3             4           5         7             9            13

- 700        			               1         1            1            3             4           5          6            8             11

- 750    				               1         1            1            2             3           4          6            7             11

- XHHW		           6                 1         3         5            9               13        21         30           47           63         81      102        128          185

- 600			             1                1           1            1            3             4           5          7             9           13

- 700 				             1           1            1            3             4           5          6             7            11

- 750				             1           1            1            2             3           4          6             7            10

##### SIGN INSTALLATION / RELOCATION PROCESS

- GM-DI Leasing is responsible for all costs related to the installation/relocation of signs when signs are required for an existing site or the dealership is moving to a new site. Arrangements for the sign installation/relocation must be made through the GM-DI program sign vendor. GM dealers are not authorized to arrange for the installation or relocation of a GM-DI sign.

- Surveys: The installation/relocation of a GM-DI sign requires that a survey be made of the dealership. A lease agreement must be prepared for the signature of the lessee and property owner. A request for survey form must be initiated by the Zone Manager when signs must be installed at a dealership or relocated  to a new dealership.

- Relocation same site: Relocating signs on the same dealership site does not normally require a survey. Contact your Zone Manager who will notify the program vendor of requirements by letter and submit a copy of the original plot plan indicating the preferred site for the sign.  Same site relocations are a cost of the requesting dealership.

- Lead-time: The installation/relocation of GM-DI signs can require as long as 3 months. The dealership survey, lease preparation, permit acquisition and production of product requires as much advance notice as possible. Survey requests for new dealer facilities should be submitted as soon as building plans are finalized, even though building construction may not have been started.

- Electrical: New electrical circuits are necessary for all installations/relocations of ground mounted signs.  Underground electrical circuits be installed by GM-DI and must meet GM-DI program specifications.  GM dealers are not permitted to provide underground electrical circuitry to power GM-DI signs.  In the event a dealer installs underground electrical circuitry, it will not be used to power GM-DI signs

##### Sign Removal

- The Zone Manager must be contacted when there is a need to remove GM-DI signs.  GM-DI must remove dealership signs from terminated dealerships immediately or risk the loss of the sign to a new property owner or tenant.

- Notify Program Supplier: ImagePoint should be notified immediately when a dealership terminates. If the appointment of a new operator is pending, the signs may remain in place temporarily. However, if another candidate has not been selected or if it appears that an appointment may be many months away, removal of GM-DI signs should be ordered.

- Lease termination: In the event a dealership is terminated, when the remove and hold or do not remove options on the request form are selected, then the monthly rental fee will continue and will be charged to the business management division.  If the sign is removed prior to the expiration of the initial 10 year agreement life, a termination penalty equal to one half the remaining rent will be charged to the dealer. The net book value, less the amount of the dealer penalty is charged to the business management division. In a case of early lease termination, GM-DI will recover only the remaining net investment in the sign.

- Foundation Removals: Sign foundations are never entirely removed.   Foundations are removed 4” below grade and the area resurfaced with a material that matches the surrounding area.

#### Non Program Signage

- GM-DI does not recommend the use of non-program signs. As a requirement of enrollment in the GM-DI signage program, all existing dealership signs must be judged compatible to GM-DI signage. If incompatible, non-program signs must be removed at dealership expense.

- Signs, that identify competitive products, are not subject to this removal policy. GM-DI does not require their removal. If competitive product sign removal is desired, the dealer must make independent arrangements through his contractor and assume all related costs.

DIVISIONAL  COLORS

- GM COLORS FOR SINGLE BRANDS

BLUE 2   (PMS#300)      ---------------------   Chevrolet

BLUE 2   (PMS#300)      ---------------------   Buick

RED 2     (PMS#485)      ----------------------  Pontiac

RED 2     (PMS#485)      ----------------------  GMC

BLACK   (PMS#N/A)     ----------------------  Cadillac

2.       GM COLORS FOR MULTIPLE BRANDS

BLUE 2	(PMS #300)    -------------	Chevrolet			 				           -------------	Buick				Black    (PMS #N/A)   -------------	Cadillac

###### RED 2     (PMS #485)    --------------	Pontiac

-------------	GMC

Used Car Signs

The GM Certified Used Vehicle brand and Cadillac Certified Pre Owned brand are the only used car brands that are supported by GM.

### Existing divisional used car signs, will not be repaired by GM-DI.  When damaged, divisional used car signs must be changed to a product sign or removed.  If the dealer chooses to enroll in the Certified Used Vehicle program, the divisional used car sign may be changed to CUV.

### Under certain circumstances a “Generic” used vehicle sign may be offered to the dealership at dealership expense.  Contact the GM-DI Program Manager	(313-667-6136) to determine whether your dealership qualifies.

General Motors Corporation

Dealer Identification

Questions frequently asked By Dealers

What is GM-DI Leasing?

Answer: GM-DI Leasing is the wholly owned subsidiary of General Motors that administers the GM Dealership Identification Program.

How can participation in the GM Dealership Identification Program help me?

Answer: There are two aspects to the Program.  The Leasing Program is available to assist dealers in obtaining ground mounted, high-rise, destinational and directional signage for the dealership.  Signage is offered to dealers under a 10-year lease agreement that converts to a perpetual month-to-month lease after the initial 10 years.

Is participation in the Dealership Identification Program mandatory?

Answer: No. GM dealers are not required to participate in the program.  There are benefits to participation that are not available anywhere else.  The trademarked graphics that are used throughout the GM dealer network are only available through the GM Dealership Identification Program.  Participation in the program is required in order to qualify for a Stipend payment under the GM Image Program.  A GM dealership cannot display non-program signs without the prior written approval of the Zone Manager.

If I don’t participate in the Dealership Identification Program will GM-DI provide the specifications for the signs and graphics so that I can have my own signs made?

Answer: No.  GM-DI will not provide the specifications for program signs and face graphics for use in obtaining non-program signs.

When I need GM-DI signs who should I contact?

Answer: You should first contact your Zone Manager.  Only your Zone Manager can initiate the process to obtain retail identity elements for your dealership.

How do I get my GM-DI Signs changed after I add or drop a franchise?

Answer: Contact your Zone Manager.  Your Zone Manager will initiate the required request forms for your dealership.  Your face panels will be changed at no cost to the dealership.

Can I move the GM-DI Signs from my old dealership to my new dealership?

Answer: Yes. Your Zone Manager can arrange for the relocation of your dealership signs.  Leased signage will be relocated to your new dealership at no cost to the dealership.

If I have old signs at my old dealership can I get new signs for my new dealership?

Answer: Yes providing that the old signs are more than 10 years old.  The new signs however, will be leased to the dealership at current program lease rates.  The old signs will be removed and the new signs installed at no cost to the dealership. Your Zone Manager must make the arrangements.

The signs at my dealership are 15 to 20 years old. Can they be refurbished to improve their appearance before they are moved to my new dealership?

Answer: Yes.  Your Zone Manager can request that the signs be refurbished before they are relocated to the new dealership.  If the refurbishment is necessary, in the opinion of GM-DI, the signs will be refurbished at no cost to the dealership.  If refurbishment is determined to be optional, the cost to refurbish the signs will be charged to the dealership.

If I have a problem after work has begun on my GM-DI Signs or Image Elements, who should I contact?

Answer: Problems with your GM-DI signs should be reported to ImagePoint Inc. at 800 444-7446 Ext. 530.

If ImagePoint cannot resolve a problem to my satisfaction, what should I do?

Answer: Contact the Manager of the GM Dealership Identification Program.

Eric J. Campbell at 313 667-6136